## Supplies
# | Lab. supplies (kits, Reagents, drugs, media) | unit | Qunatity | Unit Price ETB | Total Price ETB | Specifications
1 | Absorbance Standard ELISA Plate | pcs | 6 |  | 0 | High binding, Flat 96‐well, Detachable, 8x12, Clear or High binding, Flat 96‐well, Fixed, Clear
2 | Acetone of 1 liter | bottle | 8 |  | 0 | Appearance (Clarity)- Clear, Colourless, liquid, Assay (GC)- min. 99%
3 | Blood Agar(BA) | bottle | 17 |  | 0 | Botlle of 500 gram
4 | Brilliant green Agar, 500 gram | Bottle | 12 |  | 0 | Botlle of 500 gram
5 | Edward Medium agar, | Bottle | 15 |  | 0 | Botlle of 500 gram
6 | Agar (Eosin methylene blue agar (500gm)) | Bottle | 10 |  | 0 | Botlle of 500 gram
7 | MacConkey Agar | bottle | 19 |  | 0 | Botlle of 500 gram
8 | Mannitol Salt Agar | Bottle | 19 |  | 0 | Bottle of 500 gram
9 | Modified Congo Red Agar | bottle | 3 |  | 0 | Bottle of 500 gram
10 | Muller Hinton Agar | Bottle | 7 |  | 0 | Bottle of 500 gram
11 | Nutrient Agar | Bottle | 7 |  | 0 | Bottle of 500 gram
12 | Plate Count Agar | bottle | 2 |  | 0 | Bottle of 500 gram
13 | Purple Agar Base | Bottle | 11 |  | 0 | Bottle of 500 gram
14 | Reinforced Clostridial Agar | bottle | 4 |  | 0 | Bottle of 500 gram
15 | Salmonella-Shigella Agar(SSA) | bottle | 7 |  | 0 | Bottle of 500 gram
16 | Sabouraud dextrose agar | Bottle | 10 |  | 0 | Bottle of 500 gram
17 | Agar (Simmon’s citrate agar ( SCA), 500mg) | bottle | 9 |  | 0 | Bottle of 500gm
18 | Agar (Standard methods agar(plate count agar) (500gm)) | Bottle | 6 |  | 0 | Bottle of 500gm
19 | Agar (Trypticase TM soy agar yeast extract (TSAYE-Agar) of 500gm) | bottle | 6 |  | 0 | Bottle of 500gm
20 | Triple sugar iron agar(TSI) | Bottle | 7 |  | 0 | Bottle of 500gm
21 | Xylose lysinedeoxycholate agar (XLD) | Bottle | 10 |  | 0 | Bottle of 500gm
22 | Yeast extract agar | Bottle | 8 |  | 0 | Bottle of 500gm
23 | Alcoholic alpha-Naphthol (5%, 500gm) | Bottle | 6 |  | 0 | Bottle of 500gm
24 | Alsever’s solution | liter | 5 |  | 0 | D-Glucose: 20.5 g/L, Sodium Citrate Dihydrate: 8.0g/L ,Sodium Chloride (NaCl): 4.2 g/L,Citric Acid Monohydrate: 0.55 g/L
25 | Ammonium oxalate(500gm) | Bottle | 6 |  | 0 | Bottle of 500gm
26 | Anaerobic sachet 10 sachet per pack | kit | 15 |  | 0 | Compact Gas Generation Sachet, 10 sachet per pack for 2.5L
27 | Arabinose (L+), ( bottle of 500gm | bottle | 2 |  | 0 | Bottle of 500gm
28 | Bacillus anthrax bacteria PCR detection kit (animals) | Kit | 10 |  | 0
29 | Barium Chloride of 500gm | Bottle | 2 |  | 0 | Bottle of 500gm
30 | Bio hazard bag | pack | 110 |  | 0 | Red, Biohazard printed, steril, 310X660MM 50 per pack
31 | Blood lancet needle | pack | 100 |  | 0 | Made of stainless steel,Disposable, single use to take capillary blood, pack of 100
32 | Broth (Brain Heart Infusion (500 g)) | bottle | 20 |  | 0 | Bottle of 500 gram
33 | Broth (MR-VP broth medium, 500gm) | bottle | 11 |  | 0 | Bottle of 500 gram
34 | Broth (Nutrient Broth(500gm)) | Bottle | 8 |  | 0 | Bottle of 500 gram
35 | Broth (Tryptone soya broth 500g) | Bottle | 13 |  | 0 | Bottle of 500 gram
36 | Broth (Urea agar base (christensen) Urea broth(500gm)) | Bottle | 9 |  | 0 | Bottle of 500 gram
37 | Buffered Peptone Water (oxoid) | bottle | 7 |  | 0 | Bottle of 500 gram
38 | Campygen sachet | pack | 6 |  | 0 | sachet 10 sachet pre pack 3.5 litter supplies 6% oxygen and 14% co2
39 | Capillary tubes (Microhematocrit) plane | pack | 65 |  | 0 | Heparinized over the entire internal surface, with sodium heparin; with a red color code at one end, packing: 100 pieces in a tube, 10 tubes in a box. With the inside diameter of 1.1 – 1.2 mm, length 75 mm ± 1 mm and outside diameter of approx. 1.5 mm
40 | Carbonfuchsin/Basicfuchsin(100gm) | Bottle | 17 |  | 0 | Bottle of 100g
41 | Cary-Blair transport medium 500 gm | bottle | 7 |  | 0 | Bottle of 500g
42 | California Mastitis Test (CMT)Reagent | Liter | 52 |  | 0 | CMT Concentrate, 12 oz Bottle, Dispenser Bottle, Testing Paddle
43 | Coagulase plasma (Rabbit plasma), free Coagulase | vial | 15 |  | 0 | Vial of Lyophylized, steril, 3ml
44 | Crystal violate(100gm) | Bottle | 15 |  | 0 | Bottle of 100g
45 | Cyrovial | pack of 100 | 330 |  | 0 | Autoclavable 2ml, U tube with self standing, colorless, polypropylene, sterile, Rnase and Dnase free, labelled with mark number, box of 500 cryovials
46 | Dextrose saboured agar, bottle of 500gm | bottle | 7 |  | 0 | Bottle of 500gm
47 | Diamond pencil | pcs | 15 |  | 0 | 6" holder with artificial diamond (hard stone) embedded at one end with screw cap to mark on microscope glass slides
48 | D-Sorbitol , ( bottle of 100 gm | bottle | 4 |  | 0 | Bottle of 100gm
49 | Dulcitol, 99% min ( Vial of 100 gm) | vial | 4 |  | 0 | Bottle of 100gm
50 | Ethanol 95% | Litter | 35 |  | 0 | Absoulte, Analytical reagent grade absoulte
51 | Falcon conical tubes | pack | 32 |  | 0 | 15 ml, scew cap, printed graduation, sterile, pack of 50
52 | Falcon conical tubes | pack | 32 |  | 0 | 50ml, scew cap, printed graduation, sterile, pack of 50
53 | Filter membrane pack of 100 (0.2micro meter) | pack | 10 |  | 0 | Whatman GD/X syringe filters contain a unique glass fiber prefilteration stack that retains particles down to 0. 2µm 25mm diameter packages of 150
54 | Galactose 50 gm | bottle | 7 |  | 0 | Bottle of 50 gram
55 | Geimsa stain, Stock solution | Liter | 17 |  | 0 | Ready made Geimsa stock solution, 1litter
56 | Glass bottle 500 ml capacity with cap | pcs | 10 |  | 0 | Borosilicate glass with cap
57 | Glass bottle 250ml capacity with cap | pcs | 10 |  | 0 | Borosilicate glass with cap
58 | Glass Test­ tubes with rubber screw caped 5ml | pcs | 100 |  | 0
59 | Glass Test­ tubes with rubber screw caped 10ml |  | 50 |  | 0
60 | Glass Test­ tubes with rubber screw caped 20ml |  | 50 |  | 0
61 | Glycerole, 500ml | bottle | 8 |  | 0 | Mol wt 92.09
62 | Gram’s iodine (mordant) ,100gm | bottle | 8 |  | 0 | Bottle of 100gm
63 | Horse serum Liqud form, contaian 0.01% thimerosa of 100ml | vial | 10 |  | 0 | Liqud form, contaian 0.01% thimerosa , shipped in dry ice, storage -20oc,
64 | Hydrogen per oxide(H2O2)(500ml) | Bottle | 12 |  | 0 | Molecular Weight:32.04 g/mol of 3%, 500ml
65 | Immersion oil of 100 ml | bottle | 11 |  | 0 | For microscope, refractive index:n20/D 1.51,viscosity: 100-120 mPa.s(20 °C) ,density ,1.025 g/mL at 20 °C
66 | Indole Kovacs Reagent: ( Vial of 100ml) | vial | 16 |  | 0 | Vial of 100ml, Approximately 22.5ml amyl alcohol; 1.5gm paradimethylaminobenzaldehyde ; 7.5ml concentrated HCl
67 | Iodine crystal(500gm) | Bottle | 8 |  | 0 | 500 gram
68 | Kit ( Clostridium botulinum Type PCR test kit ( animals)) | Kit | 5 |  | 0
69 | Antimicrobial sensitivity test disc_Amikacin 30μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
70 | Antimicrobial sensitivity test disc_Ampicillin 10ug | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
71 | Antimicrobial sensitivity test disc_Amoxicillin-clavulanate 20/10µg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
72 | Antimicrobial sensitivity test disc_Ampicillin Sulbactam 20ug | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
73 | Antimicrobial sensitivity test disc_Ceftriaxone 30ug | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
74 | Antimicrobial sensitivity test disc_Ceftazidime 30ug | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
75 | Antimicrobial sensitivity test disc_Cefoxitin 30ug | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
76 | Antimicrobial sensitivity test disc_Ciprofloxacin 5ug | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
77 | Antimicrobial sensitivity test disc_Clindamycin 2ug | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
78 | Antimicrobial sensitivity test disc_Erythromycin 15μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
79 | Antimicrobial sensitivity test disc_Strepromycin 10μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
80 | Antimicrobial sensitivity test disc_Enrofloxacin 5ug | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
81 | Antimicrobial sensitivity test disc_Gentamycin 10μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
82 | Antimicrobial sensitivity test disc_Linezolid 30ug | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
83 | Antimicrobial sensitivity test disc_Meropenem 10μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
84 | Antimicrobial sensitivity test disc_Vancomycin 30ug | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
85 | Antimicrobial sensitivity test disc_Penicillin10ug | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
86 | Antimicrobial sensitivity test disc_Norfloxacin | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
87 | Antimicrobial sensitivity test disc_Tetracycline 30μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
88 | Antimicrobial sensitivity test disc_Trimethoprim/sulphamethoxazole (25μg) | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
89 | Antimicrobial sensitivity test disc_Ceftiofur 30μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
90 | Antimicrobial sensitivity test disc_Cefquinome 30μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
91 | Antimicrobial sensitivity test disc_Cefoperazone 30μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
92 | Antimicrobial sensitivity test disc_Kanamycin-cephalexin 30/15 | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
93 | Antimicrobial sensitivity test disc_Pirlimycin 2μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
94 | Antimicrobial sensitivity test disc_Sulfonamides 250/300μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
95 | Antimicrobial sensitivity test disc_Cefotaxime +Clavulanic acid 30/10 μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
96 | Antimicrobial sensitivity test disc_Ceftazidime +Clavulanic acid 30/10 μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
97 | Antimicrobial sensitivity test disc_Penicillin-novobiocin 10 unit/30 μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
98 | Antimicrobial sensitivity test disc_Doxycyclini 30μg | Pack | 10 |  | 0 | Cartilage per pack and one cartilage of 50 disc
99 | API Staphy reagents | kit | 40 |  | 0 | Reagents:VP 1 + VP 2 (Ref. 70422), NIT 1 + NIT 2 (Ref. 70442), ZYM A (Ref. 70494), ZYM B (Ref. 70493)
100 | API 20 E | kit | 40 |  | 0 | 25 API® 20 E strips of 25 incubation boxes, 25 result sheets,1 clip seal, manual
101 | API 20E reagents | kit | 40 |  | 0 | API® 20 E reagent kit :◦ Vial of NIT 1 + NIT 2 , vial of VP 1 + VP 2, vial of TDA, vial of JAMES and vial of Zn reagent
102 | Kit (Bactereal, clostridium perfringens Elisa kit) | Kit | 6 |  | 0
103 | Kit (Brucella-I-ELISA) | set | 22 |  | 0 | 1.Brucella LPS coated 5 pates of ,480 reactions, 2.positive control, 3.Negative control , 4.Dilution buffer-2 2x60ml, 5.Conjugate concentrate(10x) 6ml, 6.Dilution buffer- 3 60ml, 7.Wash concentrate(20x) 60ml, 8.Substrate solution (revelation solution) 60ml, Adhesive films, Expiry date not less than 2 years at consignment
104 | Kit (Brucellsis CFT test kit) | kit | 10 |  | 0 | 1.Brucella antigen for complement fixation test of 100 ml, 2.Guinea pig complement 2x5ml, 3.Hemolysin, 4.Positive control lyophilized of 1ml, 5. Negative control lyophilized of 1ml, 6. Veronal calcium bufferpowder
105 | Kit (Camel pox ELISA kit) | Kit | 5 |  | 0 | Camel pox virus Antibody ( CMPV-Ab) ELISA kit ; 5x96 test, detachable
106 | Kit (CBPP cELISA Test Kit (Ag Capture)) | Kit | 21 |  | 0 | 800 reaction,1 MmmSc antigen of 10 plates, 2.positive control 1x1ml strong, 3 positive control 1x1ml weak., 4.Negatve control 1x1ml , 5.Conjugate, concentrated(100X) 1x1.2ml, 6.Dilution BufferN.24 3x120 ml, 7.TMB substrate N.13 1x120ml, 8.Stop solution N3 1x120ml, 9.Wash concentrate (20x) 2x100ml, 10. Detection solution( Mab)117.5 lyophilized 1x1.ml
107 | Kit (CBPP- CFT) | Kit | 10 |  | 0 | 1.Mmm antigen for complement fixation test of 100ml, 2.Guinea pig complement 2x5ml, 3.Hemolysin, 4.Positive control lyophilized of 1ml, 5. Negative control lyophilized of 1ml, 6 Veronal calcium buffer powder
108 | Kit (CCPP cELISA Test Kit (Ag capture)) | Kit | 27 |  | 0 | Components:480 reaction, 1 M ycoplasma mycoides sub species Capri pneumonae antigen coated plates of 5 2.positive control 1x1ml strong, 3 positive control 1x1ml weak.4.Negatve control 1x1ml 5.Conjugate concentrated(100X) 1x1.2ml, 6.Dilution BufferN.24 3x120 ml, 7.TMB substrate N.13 1x120ml 8.Stop solution N3 1x120ml, 9.Wash concentrate (20x) 2x100ml10. Detection solution( Mab)117.5 lyophilized 1x1.ml
109 | Kit (CCPP Latex Agglutination test Kit) | Kit | 12 |  | 0
110 | Kit (CCPP-CFT Kit) | Kit | 10 |  | 0
111 | Kit (Chicken Newcastle disease ( NVD) ELISA kit) | Kit | 9 |  | 0 | Indirect ELISA for the detection of anti NCDV NP antibodies in the serum/plasma. Including controls it should be with 960 reactions of 12x8 well formats. Upon arrival the expiray date should be greater than 1 year.
112 | Kit (DNA extraction and detection kit) | KIT | 10 |  | 0 | Qiagen DNA extraction kits, 250 reaction
113 | Kit (ELISA bovine viral Diarrhoe) | Kit | 2 |  | 0 | Indirect ELISA for the detection of IBD Ab in the serum/plasma. Including controls it should be with 960 reactions of 12x8 well formats. Upon arrival the expiray date should be greater than 1 year.
114 | Kit (ELISA Chlamydia) | Kit | 2 |  | 0
115 | Kit (FMD-NSP-C-ELISA) | Kit | 20 |  | 0 | 3- ABC - ELISA kit for FMD (packs for 500 tests)- 3-ABC FMD NSP c-ELISA kit for detection of FMDV antibody for bovine, ovine, caprine and pig to test 480 samples/reactions including the controls, all reagents ready prepared to use.
116 | Kit (Infectious Bronchitis-I-ELISA) | Kit | 4 |  | 0
117 | Kit (Pasteurella multocida, BactoReal® Kit ( Ingenetix)) | Kit | 6 |  | 0
118 | Kit (PPR cELISA Test Kit) | Kit | 21 |  | 0 | Competitive ELISA, Format of 4 plates in each kit, 384 reactions, Test to be completed within 90 minutes, All reagents ready prepared, Supplier should be ISO certified
119 | Kit (PPR Sandwich ELISA Test Kit) | Kit | 7 |  | 0
120 | Kit (Rose bengal plate) | Kit | 47 |  | 0
121 | Kit (Trypanosomiasis Rapid test Kit (VeRY Diag )) | Kit | 100 |  | 0
122 | Labelling marker | pack | 25 |  | 0 | Line width F approx. 0.6 mm and B chisel tip approx. 1.5 - 4.0 mm, Black is lightfast, Locked tip, PP barrel and cap, Double ended permanent marker with bullet and chisel tip
123 | Labelling tape | pack | 75 |  | 0 | Tape roll on 25.4mm (1) core, Length 12.7m and width 12.7mm (1/2), Vinyl-coated, soft satin-finish paper, Adhesive sticks to virtually any surface, Tape removal leaves no residue, Available in two rolls sizes, excellent for applications in refrigeration, It can withstand temperatures from –23 to 121°C (–10 to 250°F) and has an application temperature as low as 0°C (32°F). The adhesive backing will peel off easily and leaves no residue. Expiry 3years from manufacturing date.
124 | Laboratory plain swabs | pack | 300 |  | 0
125 | Lugol’s iodine solution | bottle | 7 |  | 0 | Bottle of 100ml
126 | Malachite green oxalate, bottle of 500gm | bottle | 3 |  | 0 | Bottle of 500gm
127 | Maltose , ( bottle of 500gm) | bottle | 2 |  | 0 | Bottle of 500gm
128 | Methyl red reagent(250gm) | Bottle | 15 |  | 0 | Bottle of 250gm
129 | Methylene blue | Bottle | 10 |  | 0 | bottle of 500ml
130 | Micro plate sealer | pack | 65 |  | 0 | Pack of 100
131 | Micro titer plate round | box | 40 |  | 0 | Material:Polystyrene, Well Shape:Round Bottom (U-well),Volume (Metric) Well: 280 μL, 50 cases and 10 per pack, No. of Wells:96
132 | Micro titer plate flat | box | 40 |  | 0 | Material:Polystyrene, Well Shape:flat Bottom ,Volume (Metric) Well: 280 μL, 50 cases and 10 per pack, No. of Wells:97
133 | Micropipette tips 100 µl | Pack | 100 |  | 0 | 100µl volume. maximum recovery, hydrophobic filter barrier tips, RNase, Dnase and pyrogen free, sterile. 10 boxes x 96 tips = 960 tips/case.
134 | Micropipette tips 1000 µl | Pack | 105 |  | 0 | 1000 µl volume. maximum recovery, hydrophobic filter barrier tips, RNase, Dnase and pyrogen free, sterile. 10 boxes x 96 tips = 960 tips/case.
135 | Micropipette tips 300 µl | Pack | 310 |  | 0 | 300 µl volume. maximum recovery, hydrophobic filter barrier tips, RNase, Dnase and pyrogen free, sterile. 10 boxes x 96 tips = 960 tips/case.
136 | Microscopic Slides frosted | pack | 110 |  | 0 | Thickness 1/1, 2 mm. Supplied in boxes of 50 units. With a dimension of 76x26 mm, ground edge and 45º corner.
137 | Microtitre plate cover | pack | 4 |  | 0 | Universal Microplate Lids fit all microplates, Case of 100 and 50 per pack, steril,
138 | Motility test medium( culture media, 500mg | bottle | 12 |  | 0 | Bottle of 500 gram
139 | O-F medium | Bottle | 12 |  | 0 | Bottle of 500 gram
140 | Oxidase reagent | vial | 10 |  | 0 | Bottle of 25 grams, ingredients: NNN-Tetramethyl=P-Pheneyline Diamine Dihydrochloride
141 | Mineral oil, pure | Bottle | 17 |  | 0 | Refractive index:1.4730 to 1.4800 (20°C, 589 nm), Density: (15°C) 0.860 to 0.880 g/ml, Viscosity: 63 to 80 mm²/s (40°C),Appearance: (Form)Oily liquid, Bottle of 1 liter
142 | PCR-grade water | bottle | 20 |  | 0 | 500ml, Certified free of nucleases, and free of nucleic acid contamination that may cause false-positive signals in RT-PCR
143 | Petridish canister (Holder) | pcs | 12 |  | 0 | Stainless Steel, Petri Dish Sterilizing Box, Sterilization Barrel, Removable Carrier Hold 12 to 15 Dishes for 100 mm petridish
144 | Phenol crystal(500gm) | Bottle | 6 |  | 0 | Bottle of 500gm
145 | Phenol red indicator, bottle of 100gm | bottle | 2 |  | 0 | Bottle of 100gm
146 | pipettes (Pasteur pippetes, 1000/pack) | pack | 40 |  | 0 | Pack of 1000
147 | Potassium chloride 500gm | Bottle | 2 |  | 0 | Bottle of 500gm
148 | Potassium dichromate | Bottle | 7 |  | 0 | Bottle of 1 kg
149 | Potassium hydroxide(500gm) | Bottle | 6 |  | 0 | Bottle of 500gm
150 | Potassium iodide(500gm) | Bottle | 6 |  | 0 | Bottle of 500gm
151 | Reagent trough plastic | pcs | 60 |  | 0 | Plastic trough of 25ml for dispensing diluted innoculation fluid cases of 100
152 | Rose Bengal antigen reagent | Vial | 38 |  | 0 | vial of 10 ml for 330 samples testing
153 | Round bottom flask | pcs | 40 |  | 0 | 1000ml, borosilicate glass
154 | Round bottom flask | pcs | 10 |  | 0 | 250 ml, borosilicate glass
155 | Safranin of 25gm | bottle | 22 |  | 0 | Bottle of 25gm
156 | BovineTuberculin PPD | kit | 9 |  | 0 | one vial 20 doses of 0.1ml
157 | AvainTuberculin PPD | kit | 9 |  | 0 | one vial 20 doses of 0.1ml
158 | Tuberculine syrnge | kit | 9 |  | 0 | Individually Packaged (1mL, 25G x 5/8in),
159 | Sodium hydroxide(500gm) | Bottle | 6 |  | 0 | Bottle of 500gm
160 | Sodium Oxalate of 500g | bottle | 4 |  | 0 | Bottle of 500gm
161 | Special slide having circular depression | pcs | 200 |  | 0 | Device Type: Microscope slide with circular depression (well slide) for liquid specimens, Material: Borosilicate or soda-lime glass and Scratch-resistant, optically clear
162 | Steril single dry culture swab in tube pack of 100 swab in tube | pack | 50 |  | 0 | Slide Dimensions: Standard length of 75 mm ±1 mm, Standard width of 25 mm ±1 mm and Thickness: 1–1.2 mm, Depression / Well: Circular Shape, Diameter of 6–8 mm, 0.5–1.0 mm Depth and 0.05–0.1 mL Volume, Surface: Smooth, flat surrounding surface for coverslip placement, polished edges to prevent cuts, Transparent for transmitted light microscopy and No air bubbles or distortions in glass, Chemical & Thermal, Resistance: Resistant to acids, bases, and alcohols commonly used in staining, Can tolerate brief exposure to heating during sample preparation, Application: Suitable for liquid samples, cell cultures, bacteria or protozoa observation and Ideal for temporary mounting of specimens, live samples, and staining, Standard Supply: Pack of 25, 50, or 100 slides individually wrapped or in protective box, frosted end for labeling and coated surface for adhesion of cells
163 | Sterile bijoux bottle 1*50 | pack | 4 |  | 0 | 7ml bottle measures around 50 mm in height by 23 mm in diameter (including the cap), made of borosilicate
164 | Stuart transport medium | bottle | 12 |  | 0 | Bottle of 500 gram
165 | Sulfide Indole and motility (SIM) | Bottle | 6 |  | 0 | Bottle of 500 gram
166 | Digital Thermometer | pcs | 10 |  | 0 | Temperature range: -50 +300°C, Resolution: 0.1°C, Accuracy: ± 1°C (up to 150 °C), Probe dimensions dia. x length: 3x105 mm
167 | Urea solution (40% ) | pack | 17 |  | 0 | 40%, pack of 10 vial, 5mlper vial
168 | Urea Agar(500gm) | Bottle | 7 |  | 0 | Bottle of 500gm
169 | U-shaped non coated micro plate, 6 wells of 30ml | pcs | 30 |  | 0 | Device Type: Laboratory microplate with U-shaped wells, non-coated, Material: Polystyrene, optically clear, chemically inert, Well Design: Shape U-shaped / round-bottom, Plate Format: 2 wells, 200 mL wells, Optical Properties: Transparent for visual inspection an colorimetric/fluorescence assays, Temperature & Chemical Resistance: Autoclavable, Resistant to aqueous solutions, buffers, and common lab chemicals, Surface: Non-coated, untreated, Dimensions: Standard microplate footprint: 127.76 mm × 85.48 mm × 14.35 mm, Applications: General laboratory assays, Suspension cell culture, Sample dilution, reagent mixing, immunoassays not requiring adhesion,Pack of 10
170 | U-shaped non coated micro plate, 2 wells of 200ml |  | 10 |  | 0 | Device Type: Laboratory microplate with U-shaped wells, non-coated, Material: Polystyrene, optically clear, chemically inert, Well Design: Shape U-shaped / round-bottom, , Plate Format: 6 wells, 30 mL wells, Optical Properties: Transparent for visual inspection and colorimetric/fluorescence assays, Temperature & Chemical, Resistance Autoclavable, Resistant to aqueous solutions, buffers, and common lab chemicals, Surface: Non-coated, untreated, Dimensions: Standard microplate footprint: 127.76 mm × 85.48 mm × 14.35 mm , Applications: General laboratory assays, Suspension cell culture, Sample dilution, reagent mixing, immunoassays not requiring adhesion, Pack of 10.
171 | UTM transporting media | tube | 9 |  | 0 | UTM® Universal Transport Medium™ is the leading transport medium for stabilization and transport of unprocessed upper respiratory specimens containing respiratory, containing:Upper Respiratory Viruses, COVID-19,Influenza RSV, Chlamydia ,Mycoplasma Organisms Ureaplasma Organisms
172 | vaccutainer tube (Heparinized) | pack | 32 |  | 0 | Sterile heparinized vacutainer tubes of 10 ml holding capacity, box containing 100 tubes
173 | Sterile plain Vacutainer tubes | pack | 45 |  | 0 | Sterile plain Vacutainer tubes of 10 ml holding capacity, box containing 100 tubes
174 | Vacuetainer needles | pack | 25 |  | 0 | 21 Gauge, RW 1.2X25mm wall thickness, sterile disposable, double ended needles with rubber end at one side, box containing 100 needles.
175 | Vacuetainer needles | pack | 65 |  | 0 | Vacutainer needle RW 1.2 X 25 mm (veroject 18 G1”) box containing 100 needles ,
176 | Viral transport media(VTM) | Liter | 20 |  | 0 | Solution used to preserve viral specimens
177 | Volumetric flask | pcs | 20 |  | 0 | 1 litre of borosilicate, glass
178 | Wright's stain | Bottle | 4 |  | 0 | Bottle 100gm
179 | X factor Discs of 50 discs pk of 50 cartridges | pack | 2 |  | 0 | One cartage containing 50 pieces of 50 antimicrobial discs and each disc has 30 µg concentration
180 | V factor Discs of 50 discs pk of 50 | pack | 3 |  | 0 | One cartage containing 50 pieces of 50 antimicrobial discs and each disc has 30 µg concentration
181 | Xylene | Bottle | 5 |  | 0 | Analytical packed in 500 liter bottle C6H4(CH3)2 = 106.17; wt. per ml 0.855-0.865gm; sulphur compounds max. 0.0003%
182 | Zinc Sulfate | Bottle | 13 |  | 0 | Bottle of 500gm

## Sheet2 (hidden)
Completed | Laboratory consumables | CAPEX | Board of Trustees | Local
Not Stated | Office Supplies | OPEX | Director General´s office | Foreign
On progress | IT Equipment and Services |  | Internal Audit
| Furniture and Fixtures |  | Institutional Planning Directorate
| Construction and Building Materials |  | Director Corporate services
| Professional Services |  | Finance Nairobi
| Vehicles and Transportation Services |  | General costs Nairobi
| Printing and Publishing |  | Resource mobilization unit
| Catering and Food Services |  | Human Resources Directorate
| Others |  | Liaison & Protocol Office
Overhead Recovery
DG’s Representative- Ethiopia
IP/ Legal management
Hostel-nbo
Hostel-Addis
Residential Housing NBO
Catering-add
Transport-Nbo
Transport-Addis
ILRI club - Addis
External Income-NBO
Investment Income
External Income-Addis
Residential Housing ADDIS
Other Center Income
Gym & Recreation
Unrestricted Funds
Catering and Conferencing Nbo
Capex Lab
Global ICT management
Computing services - Addis
OCS Training
Staff Welfare and Development
Human Resources-Nairobi
Human Resources-Addis
Platforms
Innovations Profiling and Scaling (IPS)
Research support- Nigeria
Research support- India
Research support- Vietnam
Research Support - Burkina Faso
Research support-Philippines
Research support-Zimbabwe
Research Support - Tanzania
Research Support -Nepal
Research Support -Senegal
Research support- Uganda
Health of Animals, People and Ecosystems (HEALTH)
Livestock Genetics, Nutrition and Feed Resources (LGN&FR)
Livestock, Climate, and the Environment (LCE)
People Policies and Institutions (PPI)
RS Recovery
DDG-Research Intergrated
DDG-Research Bios
Data and Research Methods Unit
Environment Health and Safety Safety
Capacity Development - Nairobi
Communications & Knowledge Management
DDG (Research) Office Biosciences
Animal Unit
Biorepository
Tick Unit
Vaccine Stabilate Diluent
Platform - SeGoLiP Group
Platform - Lab manager
Genomics Platform
BecA-ILRI Hub
Genebank Analytical Services
Genebank Analytical Services HSU
Mazingira Lab
Engineering Nbo
Engineering Addis
Security-nbo
Security-Addis
Stores-nbo
Stores-Addis
Procurement-Nbo
Procurement-addis
Liaison &Travel Addis
Office services - Add
Operations Nairobi
Finance Addis
Services Addis
Space Recovery-NBO
Space Recovery-Addis
Hosted Institute